## Slide 1: Statistical Analysis of Sub-Poisson Light
John Hummel

## Slide 2: Anti bunch light
Anti bunch = sub poisson
is the condition for sub-poisson light
Anti-bunched
Non-bunched
Bunched

## Slide 3: Poisson and Expoenential Distribution
Poisson: events given a certain time interval
https://statisticsbyjim.com/probability/poisson-distribution/
Exponential: time between events

## Slide 4: Antibunching photon data
Photon arrival time measurements provided by Picoquant

## Slide 5: Linearizing exponential distribution
condition is for poisson distribution data must be converted to poisson distribution
Must find the rate parameter to convert exponential to poisson
Linear form allows for least squares fit of
Slope(m): , intercept(b):

## Slide 6: Methods of obtaining
(avg): inverse of the average time interval
  A property of exponential distributions
(m,b): Least squares fit of linearized exponential
  Results in greater weight given to larger time intervals
(wm, wb): f:
  Minimizing and solving for b and m gives a value closed to the true of the distribution
(momiter): Method of moments produces an iterative method for calculating that is required because the above methods assume an inifinite interval for the exponential distribution while any expereimental sampling has a lower and upper bound due to device limitations (1)
(mom0iter): Method of moments optimized by varying 1st x-value

## Slide 7: More on Method of Moments
is the iterative method for narrowing down a value for
Considering is much greater than for this data set another optimization routine was implemented
The routine involved reducing the lower bound until the condition was met
Optimiing the lower bound gives a more accurate estimation for a starting point of the exponential curve instead of simply assuming it to be the middle of the first histogram bar

## Slide 8
clearly are not good approximations for the Nvdata. These are the intercept approximations and will be discussed on the next slide.

## Slide 9: Issues with
approximation for is ignored for statistical analysis because the value changes with binning of histograms
The figure shows linear fitting for two histograms of the same data binned with different widths
The intercepts clearly show different values while the slopes remain unchanged

## Slide 10: Hypothesis Testing
Nonparametric bootstrap utilized with sample n=99
Significance level: 0.01
-2.58 < z < 2.58
bootstrap sample mean
s: sample standard deviation
Method |  | z-value | Reject
Avg | 1.01034376 | -0.29755125 | Cannot
m | 1.00506235 | -0.92344513 | Cannot
wm | 1.01168386 | 0.59026051 | Cannot
momiter | 1.06376894 | 1.17010438 | Cannot
mom0iter | 1.01134769 | -0.48268968 | Cannot
Method |  | z-value | 
Avg | 1.01034376 | -0.29755125 | Cannot
m | 1.00506235 | -0.92344513 | Cannot
wm | 1.01168386 | 0.59026051 | Cannot
momiter | 1.06376894 | 1.17010438 | Cannot
mom0iter | 1.01134769 | -0.48268968 | Cannot

## Slide 11: Sub-Poisson Hypothesis Test
Nonparametric bootstrap utilized with sample n=99
Significance level: 0.01
: variance
Method |  |  | z-value | Reject
Avg | 1.057 | 0.982751 | 1.70969895 | Cannot
m | 1.0413 | 1.01182431 | -0.05859826 | Cannot
wm | 1.0653 | 1.02206591 | 1.57402766 | Cannot
momiter | 1.1166 | 1.07636444 | 2.48594777 | Cannot
mom0iter | 1.0756 | 1.02754464 | -0.44743018 | Cannot
Method |  |  | z-value | 
Avg | 1.057 | 0.982751 | 1.70969895 | Cannot
m | 1.0413 | 1.01182431 | -0.05859826 | Cannot
wm | 1.0653 | 1.02206591 | 1.57402766 | Cannot
momiter | 1.1166 | 1.07636444 | 2.48594777 | Cannot
mom0iter | 1.0756 | 1.02754464 | -0.44743018 | Cannot

## Slide 12: Conclusion
Based on the z-values for the hypothesis test we cannot reject the null hypothesis with a Significance level of 0.01 so there is very little evidence to disput the claim that the values are good approximations for the NVdata
Also, we must reject the null hypothesis for the sub-poisson test based on the z-values. This means there is not enough evidence to support the claim that the recorded light is sub-poisson in nature. Further analysis is required as this result was confirmed by an independent study. There may be potential error in using values to simulate a poisson distribution in order to apply

## Slide 13: Reference
(1): Fitting an Exponential Distribution: Roberto Fraile and Eduardo Garcia-Ortega